# RESULTS OBTAINED

# ================================================

# RUNNING YEARLY SIMULATION : BEFORE PV

# ================================================

# Before PV Hour = 1 / 2160

# Before PV Hour = 2 / 2160

# Before PV Hour = 3 / 2160

# Before PV Hour = 4 / 2160

# Before PV Hour = 5 / 2160

# Before PV Hour = 6 / 2160

# Before PV Hour = 7 / 2160

# Before PV Hour = 8 / 2160

# Before PV Hour = 9 / 2160

# Before PV Hour = 10 / 2160

# Before PV Hour = 11 / 2160

# Before PV Hour = 12 / 2160

# .

.

.

# Before PV Hour = 2150 / 2160

# Before PV Hour = 2151 / 2160

# Before PV Hour = 2152 / 2160

# Before PV Hour = 2153 / 2160

# Before PV Hour = 2154 / 2160

# Before PV Hour = 2155 / 2160

# Before PV Hour = 2156 / 2160

# Before PV Hour = 2157 / 2160

# Before PV Hour = 2158 / 2160

# Before PV Hour = 2159 / 2160

# Before PV Hour = 2160 / 2160

# RUNNING YEARLY SIMULATION : AFTER PV

# ================================================

# After PV Hour = 1 / 2160

# After PV Hour = 2 / 2160

# After PV Hour = 3 / 2160

# After PV Hour = 4 / 2160

# After PV Hour = 5 / 2160

# After PV Hour = 6 / 2160

# After PV Hour = 7 / 2160

# After PV Hour = 8 / 2160

# After PV Hour = 9 / 2160

# After PV Hour = 10 / 2160

# After PV Hour = 11 / 2160

.

.

..

.

.

.

.

..

# After PV Hour = 2154 / 2160

# After PV Hour = 2155 / 2160

# After PV Hour = 2156 / 2160

# After PV Hour = 2157 / 2160

# After PV Hour = 2158 / 2160

# After PV Hour = 2159 / 2160

# After PV Hour = 2160 / 2160

# ================================================

# TOTAL YEARLY ACTIVE LOSS BEFORE PV  = 525894.11 kWh

# TOTAL YEARLY ACTIVE LOSS AFTER PV   = 481979.79 kWh

# LOSS REDUCTION = 43914.32 kWh

# ================================================

# ActiveLoss_kWh    ReactiveLoss_kVARh

# ______________    __________________

# BeforePV      5.2589e+05          9.5773e+05

# AfterPV       4.8198e+05          8.7358e+05

# ================================================

# YEARLY ANALYSIS COMPLETED

# ================================================

# >>

# BUS VOLTAGE THROUGHOUT THE YEAR:

# YEARLY REACTIVE LOSS COMPARSION:

# YEARLY FEEDER LOSS COMPARSION: